# Supplemental Application Form / Emission Control Plan

# Non-Agricultural IC Engines – Compliance with Rule 4702 (8/19/21 amendments)

Please complete one form for each engine.

### Note: This form must be accompanied by a completed Authority to Construct/Permit to Operate Application form

http://www.valleyair.org/busind/pto/ptoforms/1ptoformidx.htm

| FACILITY NAME: |  |  | FACILITY ID #: |
| --- | --- | --- | --- |
| PERMIT NUMBER: |  |  |  |
| LOCATION(S) ENGINE OPERATED: |  |  |  |
| ENGINE DETAILS AND USE | Engine Manufacturer: | Engine Model: |  |
|  | Engine Serial Number (if known): |  |  |
|  | Engine Manufacturer’s Maximum Rated Power Output (per the data plate): bhp |  |  |
|  | Engine Certification Family Number (if applicable): |  |  |
|  | Engine Combustion Type: Rich-Burn (Exhaust O2 < 4%) Lean-Burn (Exhaust O2 ≥ 4%) |  |  |
|  | Process the Engine Serves: |  |  |
|  | Maximum Annual Operation Schedule (hours/year): |  |  |
| FUEL DATA | Fuel Type: Natural Gas LPG/Propane Gasoline Landfill Gas from a Municipal Landfill Digester Gas from a Publically Owned Wastewater Facility Other: |  |  |
|  | Sulfur Content: gr/100 scf or ppmv (gaseous fuel) or % by weight (liquid fuel) |  |  |
| HOUR METER | Note: All engines are required to have either a nonresettable elapsed time meter or an alternate device, method, or technique, approved by the APCO, for determining elapsed operating time. Equipped with a Nonresettable Elapsed Operating Time Meter Alternate Method (please provide details): |  |  |
| RULE 4702 COMPLIANCE METHOD | PLEASE INDICATE THE METHOD OF COMPLIANCE WITH RULE 4702: Note: See District Rule 4702 requirements for the engine at: http://www.valleyair.org/rules/currntrules/r4702.pdf Currently in Compliance with Applicable Emission Limits and Requirements. No Modifications Required. Modify Engine and/or Emission Controls to Comply with Section 5.2, Table 3 Emission Limits Limit Engine Usage to 200 hour/year as a Low-Use Engine Pursuant to Sections 3.26 and 4.2 Designate Engine as an Emergency Standby Engine Pursuant to Sections 3.15 and 4.2 Other (please describe): |  |  |
| EMISSIONS CONTROL EQUIPMENT | Will there be any changes to the engine control equipment? Yes No If yes, please complete the section below. If no, proceed to the following section. |  |  |
|  | Automatic Air/Fuel Ratio or O2 Controller |  |  |
|  | Non-Selective Catalytic Reduction (NSCR) Manufacturer: Model: |  |  |
|  | Selective Catalytic Reduction (SCR) - Manufacturer: Model: Reagent: Ammonia, Urea, Other: , Reagent slip ppmv @ % O2 |  |  |
|  | Other (please specify): |  |  |
|  | Control Efficiencies: NOx %, CO %, VOC % |  |  |

| EMISSIONS DATA | Pollutants | Maximum Emissions with Control |  | Source of Emissions Data: Emissions Source Test Current Permit Engine Manufacturer’s Specifications Catalyst Manufacturer’s Specifications CARB/EPA Certification Other: Provide documentation of all sources of emissions data |
| --- | --- | --- | --- | --- |
|  |  | ppmvd (at 15% O2) | g/bhp-hr |  |
|  | Nitrogen Oxides (NOX) |  |  |  |
|  | Carbon Monoxide (CO) |  |  |  |
|  | Volatile Organic Compounds (VOC) |  |  |  |
| RULE 4702 EMISSIONS MONITORING | Will there be any changes to the Rule 4702 emissions monitoring for the engine? Yes No If yes, please complete the section below. If no, proceed to the following section. |  |  |  |
|  | Category 1 - Engines equipped with an external control device Category 2 - Engines with no external control device, but have a horsepower rating 1,000 bhp and are permitted to operate > 2,000 hours per year Category 1/Category 2 engines must have either a Continuous Emissions Monitoring System (CEMS) or one of the following alternate emissions monitoring plans CEMS, please specify all pollutants monitored: NOX CO O2 Other: Monitoring of NOX, CO, and O2 concentrations Monitoring of catalyst inlet & outlet temperature, ammonia injection rate, and NOX, CO, & O2 concentrations Other Alternate Monitoring Plan (approved on a case by case basis), please attach details Category 3 - Engines not covered by Categories 1 or 2 above Category 3 engines must monitor operational characteristics recommended by the engine manufacturer or emission control system supplier Monitoring of exhaust O2 concentrations (used for lean-burn engines only) Monitoring other operational characteristic (approved on a case by case basis), please attach details |  |  |  |
|  | Note: See District policy (SSP-1810) for additional details of pre-approved alternate emissions monitoring plans, at: http://www.valleyair.org/policies_per/Policies/SSP%201810.pdf |  |  |  |
| INSPECTION & MONITORING (I&M) | Will there be any changes to the Rule 4702 I&M Plan for the engine? Yes No |  |  |  |
|  | Note: All full-time non-agricultural IC engines must submit for APCO approval, an Inspection and Monitoring (I&M) plan that specifies all actions to be taken for the plan. If there will be any changes to the I&M plan, please provide documentation with information about the I&M plan and refer to Section 6.5 of Rule 4702 for details (see link in the previous section). |  |  |  |
| MAJOR SOURCES ONLY IF REPLACING OR MODIFYING A UNIT | Is this facility an existing major source for any pollutant as defined in Rule 2201? Yes No If yes, please complete the section below. If no, do not complete this section. |  |  |  |
|  | Replaced/Modified Unit: Projected Actual Emissions in lb/year (Based on Expected Utilization in Next 5 Years): NOX: , PM10: , VOC: , SOX: Attach Detailed Basis Used to Determine Projected Actual Emissions |  |  |  |
|  | New/Modified Unit: Portion of Projected Actual Emissions that the Unit, unmodified, “Could Have Accommodated” during same period as Baseline Actual Emissions NOX: , PM10: , VOC: , SOX: Attach Detailed Basis Used to Determine Projected Actual Emissions that the Unit “Could Have Accommodated |  |  |  |
|  | Existing Unit: Baseline Actual Emissions in lb/year (Average Annual Rate of Emissions During any 24-Month period in Previous 10 years) NOX: , PM10: , VOC: , SOX: Attach Records of Historical Usage and Emissions Used in this Determination |  |  |  |